## Sheet1
Modified Protocol for large volume
Day 1
1. Fluidizer
Lysis Buffer: 25 mM NaPi, pH 7.5, 0 mM NaCl
1 mM DTT, 0.02% Azide
2. Centrifuge with SLA1500 at max (13,000 rpm)
3. Collect the supernatant and adjust pH with Acetic Acid to pH 5.5
Add MQ water to lower conductivity to below 2.5ms/cm
4. Centrifuge at Max with SLA-1500 for 1h at 4C (13,000 rpm)
5. Prepare the SP (1X5mL HiTrap S, Cell extract only)
25 mM NaPi, pH 5.5, 0 mM NaCl (Low Salt)- 1000 mM NaCl (High Salt), 0.02% Azide, 1mM DTT
Unicorn: 4X5 ml IEX run S1 to S4 Prepare
Check the run at Scouting menu
Air P960 enabled
6. Run SP at 25 mM NaPi, pH 5.5, 0 mM NaCl - 1000 mM NaCl, 0.02% Azide, 1mM DTT
Unicorn: 4X5 mL IEX run S1 to S4 with 2nd UV0
Collect the fraction
Check the run at Scouting menu
Air P960 Disabled
CA FL and CTD should elute at ~10 ms/cm.
Concentrate the protein to 15-18 mL
Clean the Sample inlets with 0.5M NaOH and MQ-Azide manually.
Day 2
11. Run the Superdex 75 26/60 at 25 mM NaPi pH 6.5, 0 mM NaCl, 2 mM DTT, 0.02% Azide
Unicorn: HiLoad 26 60 Superdex 75 run S1 to S4 with 2nd UV0
Check the run at Scouting menu
Air P960 Disabled
12. Collect the peak
13. Clean the sample inlets with 0.5M NaOH, and MQ-Azide manually.
14. Do the post run column cleaning.
Unicorn: HiLoad 26 60 Superdex 75 S1 to S4 Post run Cleaning
Check the run at Scouting menu
Air P960 enabled